The CBU-DCS is a CASAMBI® DALI module controlled with Bluetooth. It doesn't need a separate voltage connection, instead it is operated directly via the DALI bus.  
  
The module can be operated with a DALI motion detector or daylight sensor as well as to control a DALI driver, which has a separately integrated DALI bus voltage.

Acceptance tests:

Manufacturer: RP-Technik GmbH