miniControl plus

MC central emergency power supply system without power limitation in accordance with DIN EN 50171:2021 and DGUV Regulation 3 for supplying emergency and escape sign luminaires {{(P:20:56)}} / {{(P:20:55)}} AC/DC {{(P:20:50)}}.

Suitable for emergency lighting systems in accordance with:

• DIN VDE 0100-718:2014-06 (Requirements in special operating areas – Emergency lighting),

• DIN VDE 0100-560:2022-10 (Emergency power supply),

• DIN EN 50172:2024-10 (VDE 0108-100:2024-10) (Emergency lighting systems).

With automatic test device and individual luminaire monitoring, as well as individual status display for each luminaire in the control unit – in conjunction with system-specific electronic ballasts including a monitoring module, without an additional data line.

Rated operating time / maximum connected load:

○ 1 h / max. {{(P:20:130)}}

○ 3 h / max. {{(P:20:131)}}

○ 8 h / max. {{(P:20:132)}}

Recharge time: 12 h

Consists of:

Microprocessor control unit with integrated IO module for reporting operating states and remote triggering of function tests and emergency light blocking.

Charging device with microprocessor-controlled charging for standard-compliant battery charging.

Integrated control cabinet interior lighting.

For accommodating up to a maximum of 6 DCM variable circuit modules, each with 2 circuits, and a maximum of one 1.0A charging module.

{{(P:6:24)}}- {{(P:19:239)}}, with partially sealed electronics and battery compartment for up to 18 OGIV batteries, max. 17 Ah

Dimensions: H={{(P:1:2)}}, W={{(P:1:1)}}, D={{(P:1:8)}}

Protection class: {{(P:19:239)}} {{(P:18:31)}}, {{(P:18:32)}} incl. wall mount

Cable entry: Standard from the top

Exterior finish: Textured powder coating

Color: {{(P:5:23)}}

Brand: RP-Technik GmbH