LED safety light in accordance to DIN EN 60598-1, DIN EN 60598-2-22 and DIN EN 1838.  
Rechargeable portable spotlight with 3W Power LED and magnetic base, for flexible mounting on metals e.g. control cabinets.  
In case of a power failure the emergency light function switches on automatically. The luminaire head can be swivelled backwards by 110° and forwards by 70°.  
Includes a flashing and dimming feature for longer burning periods. Wall bracket with charging function, 230V power supply unit (12V vehicle charger optional).

Material: Polycarbonate

Color: RAL 9005

Dimensions: 104 mm x 130 mm x 300 mm

Mounting method: Wandaufbau

Protection class: 2

Protection rating (IP): IP 54

Impact restistence rate IK: IK ≥ 3

Allowed temperature DS: 0 °C to 40 °C °C

Allowed temperature BS: 0 °C to 40 °C °C

Pictogram: Nein

Luminous Flux Emergency Operation: 180 lm lm

Battery: HXACC, HX Battery

Article number: HX

Accessories:

Article number: HXNT12, HX 12V car adapter / charging cable EUP Adaptor

Article number: HXOSD, HX organge glass Orange Signal Diffuser

Article number: HXACC, HX Akkumulator LFP HxBxL 19 x 36,5 x  66,5mm  Li-ion 7.4V / 2200 mAh

Brand: RP-Technik GmbH