Escape sign luminaire according to DIN EN 60598-1, DIN EN 60598-2-22 and DIN EN 1838
  
Metal escape sign luminaire for recessed wall mounting, with front frame secured by screws.
 
Suitable for continuous or stand-by operation. Planning reliability due to variable use of pictograms on site. Pictograms according to DIN EN ISO 7010 and DIN ISO 3864 (left, right, bottom, top) included as standard.

Material: Metal

Color: RAL 9003

Dimensions: 65 mm x 280 mm x 160 mm

Mounting method: Wandeinbau

Protection class: 1

Protection rating (IP): IP 40

Impact restistence rate IK: IK ≥ 3

Allowed temperature DS: -25 °C to 40 °C °C

Allowed temperature BS: -25 °C to 40 °C °C

Viewing distance: 22m m

Pictogram: Set

Power maintained mode: 4,2 W W

Power non-maintained mode: - W W

Luminous Flux Emergency Operation: 340 lm lm

Input voltage AC: 24 V V

Connection terminals: 1.5 mm² mm

Battery:

Article number: U6E124

Accessories:

Article number: U6BE, U6 concreate housing

Brand: RP-Technik GmbH