LED exterior façade luminaire, Tondo series. Housing made from die-cast aluminium, dark grey or white, powder-coated, IP54. Diffuser made from plastic (PC), opal, UV-stabilised. Operating unit installed (can be switched). Version with CASAMBI® Bluetooth control available.

Dimensions:

Height: 80 mm

Depth:  mm

Diameter: 280 mm

Packaging dimensions:

Width: 330 mm

Height: 100 mm

Depth: 330 mm

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 54

Electrical connection:

Power maintained: 13 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 985 lm

Color temperature: 3000 K

UGR: 24.2

Temperatures:

Mounting:

Color:

Brand: RP-Technik GmbH