LED recessed downlights, Cantone series. Four different covers in white, chrome, chrome matt and brushed metal, available in a round/square version. Operating unit can be dimmed (TRIAC/DALI dimmer), external. Version with CASAMBI® Bluetooth control available.

Dimensions:

Width: 92 mm

Height: 50 mm

Depth: 92 mm

Packaging dimensions:

Width: 100 mm

Height: 75 mm

Depth: 130 mm

Cutout Dimensions:

Diameter: 68 mm

Color:

Housing material:

Certification:

Protection type (IP): IP 20

Storage temperature range:

Electrical connection:

Power maintained: 8.1 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

EEK: wert.EEK.B

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 450 lm

Color temperature: 2700 K

Temperatures:

Mounting:

Brand: RP-Technik GmbH