LED recessed luminaire, frame panel, EDGE series, for 625 mm ceiling module. Flat shape. Aluminium frame, white, powder-coated. Diffuser made from plastic (PMMA), opal, non-yellowing. Power supply, DALI dimmable, Driver external. Version with CASAMBI® Bluetooth control, RGBW and tunable white available.

Dimensions:

Width: 615 mm

Height: 15 mm

Depth: 615 mm

Packaging dimensions:

Width: 635 mm

Height: 30 mm

Depth: 640 mm

Color:

Housing material:

Certification:

Protection type (IP): IP 20

Electrical connection:

Power maintained: 40 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 2600 lm

Color temperature: 4000 K

UGR: 16.6

Temperatures:

Mounting:

Brand: RP-Technik GmbH