LED diffuser luminaire, VASCA series, IP65, IK08. Housing made from polycarbonate. Prismatic diffuser made from PC, UV-resistant. Diffuser is fastened with stainless steel clips. LED boards can be interchanged individually. Operating unit can be switched or dimmed (DALI dimmer), installed. Feed-through wiring present. Version with Casambi Bluetooth control available. DC compatible.

Dimensions:

Width: 97 mm

Height: 82 mm

Depth: 1560 mm

Packaging dimensions:

Width: 100 mm

Height: 90 mm

Depth: 1585 mm

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 65

Shock resistance level (IK): wert.IKclass.IK 8

Electrical connection:

Power maintained: 54 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 6800 lm

Color temperature: 4000 K

UGR: 24

Temperatures:

Mounting:

Brand: RP-Technik GmbH