LED recessed luminaire, BASIC series, for 625 mm ceiling module. Flat shape. Aluminium frame, white, powder-coated. Diffuser made from plastic (PMMA), opal, non-yellowing. Power supply, Switchable external. Version with CASAMBI® Bluetooth control available.

Dimensions:

Width: 620 mm

Height: 10 mm

Depth: 620 mm

Packaging dimensions:

Width: 650 mm

Height: 45 mm

Depth: 690 mm

Cutout Dimensions:

Color:

Housing material:

Certification:

Protection type (IP): IP 20

Shock resistance level (IK): wert.IKclass.IK 3

Electrical connection:

Power maintained: 36 W

Input voltage AC: 220-240V / 50-60Hz V

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 3800 lm

Color temperature: 4000 K

UGR: 21.1

Temperatures:

power supply:

Brand: RP-Technik GmbH