LED recessed downlight, TAURE series. IP54. Housing made from aluminium, white, powder-coated. Smooth aluminium reflector. Operating unit can be switched or dimmed (DALI dimmer), external. UGR

Dimensions:

Height: 110 mm

Diameter: 226 mm

Packaging dimensions:

Width: 230 mm

Height: 120 mm

Depth: 230 mm

Cutout Dimensions:

Diameter: 210 mm

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 54

Electrical connection:

Power maintained: 14 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 1850 lm

Color temperature: 3000 K

UGR: 16.9

Temperatures:

Mounting:

Brand: RP-Technik GmbH