LED recessed and surface-mounted downlight, RAVIO series. IP20 (for the surface-mounted version). Housing made from plastic (PC) and passive aluminium cooler. Diffuser made from plastic, opal. Operating unit can be switched or dimmed (DALI dimmer), external (integrated in the surface-mounted version). Version with Casambi Bluetooth control available. DC compatibility on request.

Dimensions:

Height: 80 mm

Diameter: 172 mm

Packaging dimensions:

Width: 190 mm

Height: 145 mm

Depth: 190 mm

Cutout Dimensions:

Diameter: 160 mm

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 44

Electrical connection:

Power maintained: 41 W

Input voltage AC: 220-240V / 50-60Hz V

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 4150 lm

Color temperature: 4000 K

Temperatures:

Mounting:

power supply:

Brand: RP-Technik GmbH