LED ceiling- and wall-mounted luminaire, PORIO series, recessed design, as the basic lighting for commercial and residential rooms. Housing made from steel plate, white, powder-coated. Diffuser made from plastic (PMMA), opal, UV-stabilised. Operating unit can be switched or dimmed (DALI dimmer), integrated. Version with CASAMBI Bluetooth control available. DC compatible.

Dimensions:

Height: 90 mm

Diameter: 464 mm

Packaging dimensions:

Width: 480 mm

Height: 140 mm

Depth: 480 mm

Color:

Housing material:

Certification:

Protection type (IP): IP 20

Electrical connection:

Power maintained: 33 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 2850 lm

Color temperature: 3000 K

UGR: 20.4

Temperatures:

Mounting:

Brand: RP-Technik GmbH