LED ceiling- and wall-mounted luminaire, RONDO series, with direct/indirect beam, as the basic lighting for rooms in a commercial environment and at home. Housing made from aluminium, white, powder-coated. Diffuser made from plastic (PMMA), opal, UV-stabilised. Operating unit can be switched or dimmed (DALI dimmer), integrated. Version with CASAMBI Bluetooth control available. DC compatible.

Dimensions:

Height: 62 mm

Diameter: 600 mm

Packaging dimensions:

Width: 610 mm

Height: 100 mm

Depth: 610 mm

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 40

Electrical connection:

Power maintained: 24 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 3350 lm

Color temperature: 4000 K

UGR: 19.3

Temperatures:

Mounting:

Brand: RP-Technik GmbH