LED ceiling luminaire, ZOLA series, with direct and direct/indirect beam. Housing made from aluminium, white, powder-coated. Parabolic louvre diffuser, matt. Operating unit can be switched or dimmed (DALI dimmer), integrated. UGR

Dimensions:

Width: 50 mm

Height: 125 mm

Depth: 1415 mm

Packaging dimensions:

Width: 130 mm

Height: 60 mm

Depth: 1550 mm

Color:

Housing material:

Certification:

Protection type (IP): IP 20

Electrical connection:

Power maintained: 40 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 4700 lm

Color temperature: 4000 K

UGR: 15.5

Temperatures:

Mounting:

Brand: RP-Technik GmbH