LED moisture-proof luminaire, SWIM series, IP69, IK08. The luminaire may be immersed to a depth of 10 m. Housing and side sections made from polycarbonate(PC), grey (UV- and chlorine-resistant). Opal diffuser made from PC, UV- and chlorine-resistant. Symmetric light distribution and homogeneous illumination. Feed-through wiring present. Power supply, can be switched or dimmed (DALI dimmer), integrated. NANO protection on request. Area of application: car washes, chemical industry, swimming pools etc.

Dimensions:

Width: 70 mm

Height: 70 mm

Depth: 780 mm

Packaging dimensions:

Width:  mm

Height:  mm

Depth:  mm

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 66

Shock resistance level (IK): wert.IKclass.IK 10

Electrical connection:

Power maintained: 17 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 1900 lm

Color temperature: 4000 K

UGR: 25.5

Temperatures:

Mounting:

Brand: RP-Technik GmbH