LED ceiling- and wall-mounted luminaire, MAVS. Housing made from aluminium, white, powder-coated. Diffuser made from plastic (PMMA), opal, UV-stabilised. Operating unit can be switched or dimmed (DALI dimmer), integrated. Version with
CASAMBI® Bluetooth control available. DC compatible.

Dimensions:

Width: 79 mm

Height: 79 mm

Depth: 865 mm

Packaging dimensions:

Width: 118 mm

Height: 75 mm

Depth: 1300 mm

Cutout Dimensions:

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 40

Electrical connection:

Power maintained: 26 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 2600 lm

Color temperature: 3000 K

UGR: 26.2

Temperatures:

Mounting:

Brand: RP-Technik GmbH