LED ceiling- and wall-mounted luminaire, MAVS. Housing made from aluminium, white, powder-coated. Diffuser made from plastic (PMMA), opal, UV-stabilised. Operating unit can be switched or dimmed (DALI dimmer), integrated. Version with
CASAMBI® Bluetooth control available. DC compatible.

Dimensions:

Width: 79 mm

Height: 79 mm

Depth: 1985 mm

Packaging dimensions:

Width: 123 mm

Height: 101 mm

Depth: 2010 mm

Cutout Dimensions:

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 40

Electrical connection:

Power maintained: 61 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 6450 lm

Color temperature: 4000 K

UGR: 26.2

Temperatures:

Mounting:

Brand: RP-Technik GmbH