LED ceiling- and wall-mounted luminaire, ZORRO. Housing made from steel plate, white, powder-coated. Diffuser made from plastic (PC), opal, UV-stabilised. Operating unit can be switched or dimmed (DALI dimmer), integrated. Version with CASAMBI® Bluetooth control available. DC compatible. NANO protection on request.

Dimensions:

Width: 165 mm

Height: 63 mm

Depth: 600 mm

Packaging dimensions:

Width: 166 mm

Height: 57 mm

Depth: 704 mm

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 40

Electrical connection:

Power maintained: 19 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 2200 lm

Color temperature: 4000 K

UGR: 26

Temperatures:

Mounting:

Brand: RP-Technik GmbH