LED moisture-proof luminaire, LUKA series, IP66. Resistant to ammonia and oil. Housing made from steel plate. Diffuser made from safety glass. Feed-through wiring present. Power supply, can be switched or dimmed (DALI dimmer), integrated. DC compatibility and NANO protection on request. Suitable for use in the food industry. Area of application: car washes, chemical industry, kitchens etc.

Dimensions:

Width: 192 mm

Height: 90 mm

Depth: 1305 mm

Packaging dimensions:

Width: 250 mm

Height: 150 mm

Depth: 1360 mm

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 66

Electrical connection:

Power maintained: 35 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 3950 lm

Color temperature: 4000 K

UGR: 21.5

Temperatures:

Mounting:

Brand: RP-Technik GmbH