LED recessed and surface-mounted downlight, DOALA series, for ceiling recesses of 65 mm to 205 mm. Housing made from aluminium, white, powder-coated. Diffuser made from PS, opal. Operating unit integrated (can be switched). Three-stage adjustment of colour temperature (3000K, 4000K, 5700K) using DIP switch. Version with CASAMBI Bluetooth control available.

Cutout Dimensions:

Color:

Housing material:

Certification:

Protection type (IP): IP 20

Electrical connection:

Power maintained: 17 W

Input voltage AC: 220-240V / 50-60Hz V

power supply:

DC suitability: wert.DCSuitable.Nein

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 1650 lm

Color temperature: 3000/4000/6000 K

UGR: 27.5

Temperatures:

Mounting:

Dimensions:

Height: 15 mm

Diameter: 235 mm

Packaging dimensions:

Brand: RP-Technik GmbH