LED spotlight, SOLID series. Die-cast aluminium housing, suitable for outdoor use, colour: black, powder-coated. Cover made of tempered glass. Robust housing with IP 66 and high impact resistance IK08. Powerful LED technology with over 140lm/W for effective illumination of large areas. Switchable control gear, built-in. Extremely flexible use thanks to flat design and adjustable angle of inclination. Connection via open cable end.

Dimensions:

Width: 165 mm

Height: 34 mm

Depth: 175 mm

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 66

Shock resistance level (IK): wert.IKclass.IK 8

Electrical connection:

Input voltage AC: 220-240V / 50-60Hz V

Nominal output: 10 W

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 1400 lm

Color temperature: 4000 K

Temperatures:

label.zuordnungsspeicher.gruppe.Casambi-Products:

Input voltage DC: 216 V

Mounting:

Brand: RP-Technik GmbH