Receive data from your Casambi network and remotely control it over the internet with a Casambi Cloud Gateway. This control is possible from anywhere using your smartphone.

It offers largely the same functions as on-site.


	Create groups, scenes, and animations.
	Dim individual or groups of luminaires or turn them on/off.
	Dim an entire network or turn it on/off. Turn scenes and animations on/off.
	Control color temperature, hue, and saturation using the control slider in the app.
	Create and edit timers.


 

The Casambi Cloud Gateway primarily operates with the Evolution firmware.

Electrical data:

Acceptance tests:

Protection class: II

Ingress protection (IP) rating: IP 20

Physical data:

Length (L): 100,8 mm

Width (B): 73,7 mm

Height (H): 29,25 mm

Manufacturer: RP-Technik GmbH