Escape Route Luminaire with ERT LED for Trilux E-Line Trunking System (Profile 07650, 7-core)
This escape route luminaire is specifically designed for the Trilux E-Line trunking system with a 7-core profile (07650). The integrated, innovative lens holder with quick-mounting functionality allows for easy and flexible use of different lens types – perfectly tailored to the specific application.
The scope of delivery includes both a lens for area lighting and one for corridor lighting.

Monitoring:

Version with automatic test system in accordance with DIN EN 62034 type S including SelfControl test button:

- Test results with fault analysis (illuminant, charge and battery circuit) and status displays (operation, function test, continuous function test) using 3 colour LEDs

- Automatic function test (weekly)

- Automatic continuous function test (every 12 months)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

- Idling and short-circuit shutdown of inverter

Material: Metal

Color: RAL 9003

Dimensions: 368 mm x 62 mm x 40.7 mm

Mounting method: Schienensysteme

Protection class: 1

Protection rating (IP): IP 20

Impact restistence rate IK: IK 3

Allowed temperature DS: -5 °C to 40 °C °C

Allowed temperature BS: -5 °C to 40 °C °C

Pictogram: Nein

Power maintained mode: 5,6 W W

Power non-maintained mode: 2 W W

Luminous Flux Emergency Operation: 470 lm lm

Input voltage AC: 250 V V

Connection terminals: 2,5 mm² mm

Battery: LFPN3212.01-SET

Article number: LBLT431SC

Accessories:

Brand: RP-Technik GmbH