Monitoring:

With integrated monitoring module with 20-digit addressing switch, for operation on a central power supply system. Automatic test system according to DIN EN 62034 type ER, in connection with a system of type MultiControl. Functions must be complied with:

- Integrated individual luminaire monitoring

- Integrated luminaire manager function

- Individual switchability in conjunction with RP ELS - central power supply system

Material: Zinc die-cast

Color: RAL 7016

Diameter: 160 mm

Mounting method: Bodenaufbau

Protection class: 1

Protection rating (IP): IP 65

Impact restistence rate IK: IK 10

Allowed temperature DS: -20 °C to 50 °C °C

Allowed temperature BS: -20 °C to 50 °C °C

Pictogram: Nein

Power maintained mode: 11,5 W W

Power non-maintained mode: 1,5 W W

Luminous Flux Emergency Operation: 610 lm lm

Input voltage AC: 230 V V

Battery:

Article number: ZPMR029ML

Accessories:

Brand: RP-Technik GmbH