LED diffuser light "VASCA"LED diffuser light, VASCA series, IP66, IK08. Polycarbonate housing. Prismatic diffuser made of PC, UV-resistant. Diffuser fastened with stainless steel clips. LED circuit board individually replaceable. Built-in switchable Power-driver. Through-Wiring available. DC compatible. The power (36-55W) and the colour temperature (3000-4000-5000K) can be set via dip switch.

Dimensions:

Width: 99 mm

Height: 82 mm

Depth: 1568 mm

Diameter:  mm

Packaging dimensions:

Width: 102 mm

Height: 90 mm

Depth: 1585 mm

Cutout Dimensions:

Color:

Housing material:

Certification:

Protection type (IP): wert.IngressProtection.IP 66

Shock resistance level (IK): wert.IKclass.IK 8

Storage temperature range:

Housing temperature tc (Max):

Electrical connection:

power supply:

DC suitability: wert.DCSuitable.Ja

Light data:

Light source: wert.LightSource.LED

Rated luminous flux: 4400-7700 lm

Color temperature: 3000/4000/5000 K

UGR: 24

Temperatures:

Mounting:

Brand: RP-Technik GmbH