Monitoring:

Version with automatic test system in accordance with DIN EN 62034 type S including SelfControl test button:

- Test results with fault analysis (illuminant, charge and battery circuit) and status displays (operation, function test, continuous function test) using 3 colour LEDs

- Automatic function test (weekly)

- Automatic continuous function test (every 12 months)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

- Idling and short-circuit shutdown of inverter

Material: Zinc die-cast

Color: RAL 7016

Diameter: 160 mm

Mounting method: Bodenaufbau

Protection class: 1

Protection rating (IP): IP 65

Impact restistence rate IK: IK 10

Allowed temperature DS: -20 °C to 50 °C °C

Allowed temperature BS: -20 °C to 50 °C °C

Pictogram: Nein

Power maintained mode: 11,5 W W

Power non-maintained mode: 0,7 W W

Luminous Flux Emergency Operation: 200 lm lm

Input voltage AC: 240 V V

Connection terminals: 1,5 mm² mm

Battery: LFPN3260.WRLEN, {{Produkt - BatteryPerformance - BatteryTechnology (P:17:110)}} Battery

Article number: ZPMR403SC-EHE

Accessories:

Brand: RP-Technik GmbH