Surveillance:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

- Charge monitoring indicator on the luminaire

- Manual or automatic function test (free choice of test start time in the WirelessControl software)

- Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

Matériau: PCABS,Polycarbonate

Couleur: RAL 9003

Dimensions: 73 mm x 339 mm x 71 mm

Type de montage: Deckenaufbau

Classe de protection: 2

Indice de protection (IP): IP 65

Degré de résistance aux chocs IK: IK 8

Température permise en mode contenu: 0 °C à 40 °C °C

Température permise en mode veille: 0 °C à 40 °C °C

Pictogramme: Nein

Puissance en mode continu: 5,2 W W

Puissance en mode veille: 0,8 W W

Flux lumineux en mode de secours: 460 lm lm

Tension d'entrée AC: 230 V V

Section de raccordement: 2.5 mm² mm

Batterie: LFPN3212.01-SET

Numéro d'article: PXDL421WL

Accessoires:

Numéro d'article: PXD-AW,

Numéro d'article: LFPN3212-SET-2AKKU,

Marque: RP-Technik GmbH