Surveillance:

With integrated monitoring module for operating on a Wireless Professional central monitoring system.

- Charge monitoring indicator on the luminaire

- Manual or automatic function test (free choice of test start time in the WirelessControl software)

- Manual or automatic continuous function test can be activated via the length of the luminaire’s measurement operation (free choice of test start times in the WirelessControl software)

- Automatic charge monitoring

- Deep discharge protection with restart inhibit

Matériau: Polycarbonate

Couleur: RAL 7035

Dimensions: 1560 mm x 82 mm x 97 mm

Type de montage: Wandaufbau,Deckenaufbau

Classe de protection: 1

Indice de protection (IP): IP 66

Degré de résistance aux chocs IK: IK 8

Température permise en mode contenu: -5 °C à 40 °C °C

Température permise en mode veille: -5 °C à 40 °C °C

Pictogramme: Nein

Numéro d'article: LFU15023WL-CCT

Accessoires:

Marque: RP-Technik GmbH