LED safety luminaire according to DIN EN 60598-1, DIN EN 60598-2-22 and DIN EN 1838.   
  
LED safety luminaire for damp rooms or outdoor areas for recessed ceiling mounting made of aluminium. Two-part construction for easy sealing of the ceiling. The luminaire insert is placed in the mounting ring without tools.   
Optimum light distribution and illumination of escape and rescue routes is achieved by using powerful LED ERT technology. The light source is replaceable.

Monitoring:

SC

Version with automatic test system in accordance with DIN EN 62034 type S including SelfControl test button:

* Test results with fault analysis (illuminant, charge and battery circuit) and status displays (operation, function test, continuous function test) using 3 colour LEDs
* Automatic function test (weekly)
* Automatic continuous function test (every 12 months)
* Automatic charge monitoring
* Deep discharge protection with restart inhibit
* Idling and short-circuit shutdown of inverter

Material: Zinc die-cast

Color: RAL 9003

Dimensions: x x 110 mm

Diameter: 80 mm

Mounting method: Deckeneinbau

Protection class: 2

Protection rating (IP): 65

Impact restistence rate IK: ≥ 3

Allowed temperature DS: -5 to 40 °C

Allowed temperature BS: -5 to 40 °C

Pictogram: No

Power maintained mode: 3,5 W

Power non-maintained mode: 0,35 W

Luminous Flux Emergency Operation: 220 lm

Bridging time (h): 3 h

Input voltage AC: 230 V

Connection terminals: 2.5 mm

Battery: NIMHHT4820Q, 4,8V/2,0Ah NiMH

Article number: FGL-OUT-WEISS-023SC

Accessories:

Brand: RP-Technik