Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

DC Ready: Yes

Rated power: 50 W

Input Voltage DC: 216 V

Photometrical data:

Rated luminous flux: 7.000 lm

Colour temperature: 4000 K

Light source: LED

Acceptance tests:

Protection class: I

Ingress protection (IP) rating: IP 66

Impact resistance: IK 08

Physical data:

Length (L): 247 mm

Width (B): 187 mm

Height (H): 37 mm

Manufacturer: RP-Technik GmbH