The CBU-ASD unit is a module that can be directly integrated into a luminaire in order to control it wirelessly. It is designed for halogen drivers of 0–10 V, 1–10 V and LED or even DALI dimmer interfaces. It is possible to configure the control output as a digital DALI dimmer interface on site or as an analogue interface.  
  
The modules are controlled wirelessly using the CASAMBI® app for smartphone and tablet (via Bluetooth 4.0), though it is also possible to control them using light switches.  
  
CASAMBI® CBU-ASD modules also give you the option of controlling a large number of luminaires from anywhere. This is made possible by a secure and wireless mesh network that automatically sets up the units. Set up requires neither repeaters or routers, nor wires or external gateways.  
 

label.zuordnungsspeicher.gruppe.Dimensions:

label.zuordnungsspeicher.Width: 35.8 mm

label.zuordnungsspeicher.Height: 22.3 mm

label.zuordnungsspeicher.Length: 56.5 mm

label.zuordnungsspeicher.gruppe.ColorInformation:

label.zuordnungsspeicher.gruppe.MaterialData:

label.zuordnungsspeicher.gruppe.RatingsCertifications:

label.zuordnungsspeicher.IngressProtection: IP 20

label.zuordnungsspeicher.gruppe.StorageTemperatures:

label.zuordnungsspeicher.gruppe.HousingTemperature:

label.zuordnungsspeicher.gruppe.ElectricalConnectionLight:

label.zuordnungsspeicher.MaxInputVoltageAC: 220-240V / 50-60Hz V

label.zuordnungsspeicher.gruppe.Temperatures:

label.zuordnungsspeicher.gruppe.Casambi-Products:

label.zuordnungsspeicher.maxTransmissionPower: +4 dBm

Brand: RP-Technik GmbH