The CASA Connect 4 Buttons is a button interface module for connecting up to 4 buttons. It is suitable for mounting in a flush-mounted box. The interface is a member of the CASAMBI® family and can be easily integrated into the network via the app.

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

System power: 0,2 W

Acceptance tests:

Protection class: II

Ingress protection (IP) rating: IP 20

Physical data:

Length (L): 50 mm

Width (B): 48 mm

Height (H): 22 mm

Manufacturer: RP-Technik GmbH