Acceptance tests:

Protection class: I

Ingress protection (IP) rating: IP 65

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

System power: 42 W

Photometrical data:

Rated luminous flux: 4.300 lm

Colour temperature: 4000 K

UGR: 21.3

Light source: LED

Physical data:

Length (L): 620 mm

Width (B): 620 mm

Height (H): 100 mm

Producent RP-Technik GmbH