Electrical data:

System power: 48 W

Photometrical data:

Rated luminous flux: 3.850 lm

Colour temperature: 2700-6000 K

Acceptance tests:

Energy efficiency class: A+

Physical data:

Length (L): 620 mm

Width (B): 620 mm

Height (H): 10 mm

Manufacturer: RP-Technik GmbH