Acceptance tests:

Protection class: I

Ingress protection (IP) rating: IP 40

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

System power: 30 W

DC Ready: Yes

Photometrical data:

Rated luminous flux: 4.200 lm

Colour temperature: 4000 K

UGR: 21.8

Light source: LED

Physical data:

Height (H): 87 mm

Diameter ø: 600 mm

Producent RP-Technik GmbH