Acceptance tests:

Protection class: I

Ingress protection (IP) rating: IP 20

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

System power: 72 W

DC Ready: Yes

Photometrical data:

Rated luminous flux: 6.750 lm

Colour temperature: 3000 K

UGR: 20.7

Light source: LED

Physical data:

Height (H): 90 mm

Diameter ø: 664 mm

Producent RP-Technik GmbH