Acceptance tests:

Protection class: I

Ingress protection (IP) rating: IP 40

Electrical data:

System power: 28 W

DC Ready: Yes

Photometrical data:

Rated luminous flux: 3.350 lm

Colour temperature: 3000 K

UGR: 23.9

Light source: LED

Physical data:

Height (H): 62 mm

Diameter ø: 400 mm

Producent RP-Technik GmbH