Acceptance tests:

Protection class: I

Ingress protection (IP) rating: IP 40

Electrical data:

Input Voltage AC: AC 220-240V / 50-60Hz

System power: 61 W

Photometrical data:

Rated luminous flux: 5.900 lm

Colour temperature: 3000 K

UGR: 26.1

Light source: LED

Physical data:

Length (L): 1.590 mm

Width (B): 165 mm

Height (H): 63 mm

Producent RP-Technik GmbH